## CCR Attributes, Examples
REMBI Module | NIFE Attribute | REMBI Attribute | Explanation | Comments | Display Submit Form Field
Study component | Study/Dataset Name | Study Component ID | Unique ID for Study Component | free text. Corresponds to OME Dataset; | Required
| N/A | Path on Server | Path to Image data | The location of the images AFTER imaging (local copy, network drive) will be supplied by the core | Drop
| Imaging Facility | Core ID | Unique ID for Imaging Facility | Line 8 can be pre-populated on facility-specific sample manifests | Required
| Principal Investigator | Study Component PI ID | NIH ID for PI | Corresponds to OME Group; CBIIT has a type & fill list that can be used for User ID | Required
| Project Scientist | Study Component User ID | NIH ID for User/requestor; e.g. the Fellow or other group member submitting samples | Corresponds OME User; (PI is listed on line 9). CBIIT has a type & fill list that can be used for User ID | Required
| Imaging Method | Imaging method | Technique used to acquire image data | Dropdowns for each core | Required
| Supporting Links | Study component attachment | Support documents (word, pdf, excel, ...) | Attachements will either live in the OMERO db or they will be linked linked. | Add
| Study Description | Study component description | Description specific to this image dataset component | free text | Add
|  | Number of unique biosamples represented in this study componement |  | Number dropdown => Opens a set of Biosample Fields (line 15-21) for each one. e.g. # of tissue blocks;
Biosample | Biosample Name | Identity | Internal unique ID of biosample for User/requestor | free text | Required
| Biosample Description | Biological entity | What is being imaged | free text | Required
| Organism | Organism | Species | Dropdown menu w/ option for multiple | Required
| Biosample Type | N/A |  |  | Add
| Species/Strain | N/A |  |  | Add
| Embryo Stage | N/A |  |  | Drop
| Cell Line | Cell Line/Tissue name | Cell line name, or tissue/organ identity | Choose cell line or tissue; if cell line => cell line name if tissue => normal or tumor; if tumor => WHO Histology/diagnosis list | Add
| Intrinsic Variables | Intrinsic variable | Intrinsic (e.g. genetic) alteration if applicable | free text e.g. knock-out mouse model, stable cell lines, reporter D.melanogaster strain, etc. | Add
| Extrinsic Variable - Experimental Treatment | Extrinsic variable | External biosample treatment (e.g. reagent) if applicable | Free text, since the values will be dependent on experiment (Compounds, compound conc., sgRNA, siRNA, etc.). Ideally, data that should be searchable. | Add
| Experimental Variables | Experimental variables | What is intentionally varied (e.g. time) between multiple entries in this study component | Free text, since the values will be dependent on experiment (Timelapse, etc.). Ideally, data that should be searchable. | Add
|  | Number of unique Specimens represented in this biosample |  | Number dropdown => Opens a set specimen Fields (line 23-28) for each one... UNLESS this is larger than X where X => multiwell plate? For plates maybe upload a grid for 23 & 24 and have 1 entry per plate or set of plates for 25-28? (lift from OMERO HTS)
Specimen | Experimental Status | Experimental status | Test/ control | Bianary choice | Drop
(linked to Biosample) | Specimen Location Method (ID, Block/Slide, Plate, etc) | Location within Biosample | Plate/dish coordinate or tissue location | Potentially obtained from OME Plate, Well, FOV hierarchy | Required
| Case ID | N/A |  |  | Drop
| Specimen ID | N/A |  |  | Add
| Experimental Treatment | Photo treatment | Illumination treament (e.g photoactivation, FRAP, photoablation, etc.) |  | Drop
default for sunsequent specimens to spec 1 ch # & 26, 27, 28 | Preparation Method | Preparation method | Sample preparation protocol | dropdowns + other option for free text | Required
Channel | Signal or Contrast Mechanism | Signal/contrast mechanism | How is the signal generated by this sample | dropdowns + other option for free text | Required
| Stain | Channel - content | Specific specimen staining (e.g. IEM, DAB) | dropdowns + other option for free text | Required
| Molecular Entity | Channel - biological entity | What molecule is stained | free text | Required
Legend:
Mandatory Fields - Provided by PI/User
Optional Fields - Provided by PI/User
Instrument Generated Fields - Provided by Core
Adapted from Supplementary Figure 1 of REMBI Nature Methods paper (https://www.nature.com/articles/s41592-021-01166-8)
Note on C2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: @Cortner, Janelle (NIH/NCI) [E] @Pegoraro, Gianluca (NIH/NCI) [E] Can we please call this Study Component or Dataset ID? Study refers to, well, a study, which is a superset or group of datasets/study components Reply: @Narayan, Kedar (NIH/NCI) [C] Agreed. Reply: Understood that this is a component of a larger study and so for the database it will be "study component." For the project intake GUI, you have said that the fields for the study module will not be exposed to users, but rather be generated after at least a few related study components are received and imaged, closer to the time of publication. My suggestion is that for the GUI we give this field a name that will make sense to the submitter and intuitively invite them to enter the info you are seeking for this field... which appears to be a unique ID the submitting group will use to refer to this imaging request. What do you want the users to see as a field name for the GUI? Reply: Note that it doesn't matter what we call it in the GUI because it will map to the correct field in the db - Study Component ID.
Note on C5: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: @Pegoraro, Gianluca (NIH/NCI) [E] would it be easier to revert to PI email? I can't find NIH ID easily on NED. Prefer email Reply: @Narayan, Kedar (NIH/NCI) [C] Sure, as long as it is a unique identifier. NIH email has so many aliases... pegorarog@nih.gov, pegorarog@mail.nih.gov, gianluca.pegoraro@nih.gov, etc.
Note on D5: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Janelle suggested adding a field for core facility or facility director/user Reply: new row created Gianluca what to name it?
Note on D7: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: with multiple imaging modalities (CLEM etc), there should be an easy way to clone, i.e. automatically copy & paste various common fields Reply: @Narayan, Kedar (NIH/NCI) [C] @Karpova, Tatiana (NIH/NCI) [E] Agree. This should be best implemented as a menu of standardized terms
Note on D11: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: @Cortner, Janelle (NIH/NCI) [E] how is identity different from biological identity?
Note on C17: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Possible to split for tissue type imaging etc. Depends on if dependencies can be mapped easily
Note on C26: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Name can be changed.

## Modules, attributes and example
Module | Attribute | Comments | WG1 - example 1 | WG1 - example 2 | WG2 - example 1 | WG2 - example 2 | WG3 - example 1 | WG3 - example 2 | WG3 - example 3 | WG3 - example 4
Study
(contains 1 or more Study components) | Study type | Type of the overall study, which may include other imaging and/ or non-imaging data | Single-particle cryo-EM | cryo-ET | CLEM/FIB-SEM of activated CD4+ T cells | FRAP/FIB SEM of parasitophorous vacuoles containing Toxoplasma gondii ∆CAP parasites | N/A | N/A | High-throughput/high-content screening | Atlas
| Study description | Study description, e.g., title of published paper | Single-particle cryo-EM at atomic resolution | Multi-particle cryo-EM refinement with M visualizes ribosome-antibiotic complex at 3.7 Å inside cells | Plasma Membrane LAT Activation Precedes Vesicular Recruitment Defining Two Phases of Early T-cell Activation | Differential requirements for cyclase-associated protein (CAP) in actin-dependent processes of Toxoplasma gondii | N/A | Ex vivo live cell tracking in kidney organoids using light sheet fluorescence microscopy |  | Data to build a mitotic cell atlas
| General dataset info | Authors, publications, licenses etc | https://doi.org/10.1101/2020.05.22.110189 | https://doi.org/10.1101/2020.06.05.136341 | PMID: 29789604 | Hunt A , Russell MRG , Wagener J , Kent R, Carmeille R, Peddie CJ, Collinson L, Heaslip A, Ward GE, Treeck M Elife 8 (2019) PMID: 31577230 DOI: 10.7554/elife.50598 | Images acquired by Jeffrey Skerker and annotated by Tom Morgan | PMID: 31527839 | Hériché JK et al.. Mol Biol Cell. 2014 Aug 15;25(16):2522-2536. doi: 10.1091/mbc.E13-04-0221. PubMed PMID: 24943848 | Cai Y, et al. An experimental and computational framework to build a dynamic protein atlas of human cell division. Nature. 2018 Sep 10. doi: 10.1038/s41586-018-0518-z. PubMed PMID: 30202089.
Study component
(contains Image data and Analysed data) | Imaging method | Technique used to acquire image data | Single-particle cryo-EM | cryo-ET | FIB-SEM | FIB SEM | Differential interference contrast | Light sheet fluorescence microscopy | Epifluorescence microscopy | Confocal fluorescence microscopy + Fluorescence correlation spectroscopy
| Study component description | Description specific to this image dataset component | N/A | N/A | StudyComponentDescription.rtf | Processed FIB SEM images of a parasitophorous vacuole containing Toxoplasma gondii ∆CAP parasites | N/A | N/A | Image-based RNAi screen of 100 candidate genes predicted to be involved in mitotic chromosome condensation. | Image data used to build the mitotic cell atlas. This consists of three subsets: primary images, segmentation masks for the landmarks and protein concentration maps.
Biosample
| Identity | Internal unique ID |  |  | pLAT_8O-2_FIBSEM | EM04226_2_U19 | BBBC009
| Biological entity | What is being imaged | apo-ferritin | ribosome-antibiotic complex | Jurkat E6.1 T cells; http://purl.obolibrary.org/obo/CL_0000084 | Parasitophorous vacuole, in a human foreskin fibroblast, containing Toxoplasma gondii ∆CAP parasites | Red blood cells | Kidney tissue | HeLa cells | HeLa cells
| Organism | Species | Mouse | Homo sapiens | Homo Sapien; http://purl.obolibrary.org/obo/NCBITaxon_9606 | Homo Sapiens, Toxoplasma gondii | Homo sapiens | CD1 Mus musculus embryonic, day 13.5
| Intrinsic variable | Intrinsic (e.g. genetic) alteration if applicable | N/A | N/A | Jurkat E6.1 transfected with emerald-VAMP7 | N/A | N/A | Wild type | stable overexpression of HIST1H2BJ-mCherry and LMNA-eGFP | Homozygous GFP integration into mitotic genes + fluorescent dextran in medium + either stable overexpression of HIST1H2BJ-mCherry or SiR-Hoechst staining
| Extrinsic variable | External biosample treatment (e.g. reagent) if applicable | N/A | N/A | Plate-bound anti-CD3 activation | N/A | N/A | N/A | Library of 200 siRNAs, the sequences of which should be listed here as they are required for target gene inference.
| Experimental variables | What is intentionally varied (e.g. time) between multiple entries in this study component | N/A | N/A | Time | Complementation of ∆CAP mutant with wild-type CAP (not done for this sample, hence mutant phenotype) | N/A | Genotype | time | time
Specimen
(linked to Biosample) | Experimental status | Test/ control | N/A | N/A | N/A | Test (∆CAP) | N/A | N/A
| Location within Biosample | Plate/dish coordinate or tissue location | N/A | N/A | Plate2_8O | Experiment EM04226, dish 2, grid square U19 | N/A | N/A | list of plate/wells coordinates
| Preparation method | Sample preparation protocol | A frozen aliquot of 7mg/ml mouse apo-ferritin in 20mM HEPES pH 7.5, 150mM NaCl, 1mM dithiothreitol (DTT) and 5% trehalose, which we received from the Kikawa Lab at Tokyo University, was thawed at room temperature and cleared by centrifugation at 10,000g for 10 min. The supernatant was diluted to 5mg/ml with 20mM HEPES pH 7.5 150mM NaCl, and 3 μl of the diluted sample was applied onto glow-discharged R1.2/1.3 300 mesh UltrAuFoil gold grids (Quantifoil) for 30 s and then blotted for 5 s before plunge-freezing the grids into liquid ethane cooled by liquid nitrogen. Plunge-freezing was performed using a Vitrobot Mark IV (Thermo Fisher Scientific) at 100% humidity and 4 °C. | Mycoplasma pneu- moniae strain M129(ATCC 29342)cells were grown on 200 mesh gold grids coated with a holey carbon support (R 2/1, Quantifoil). Cells were cultivated at 37 °C in modified Hayflick medium: 14.7 g/L Difco PPLO (Becton Dickinson, USA), 20% (v/v) Gibco horse serum (New Zealand origin, Life Technologies, USA), 100 mM HEPES-Na (pH 7.4), 1% (w/w) glucose, 0.002% (w/w) phenol red and 1,000 U/mL freshly dissolved penicillin G. Chloramphenicol (Cm; Sigma-Aldrich, USA) was added 15 minutes prior to vitrification, at a final concentration of 0.5 mg/ml. Grids were quickly washed with PBS buffer containing 10 nm protein A-conjugated gold beads (Aurion, Netherlands), blotted from the back side for 2 seconds, and plunged into mixed liquid ethane/propane at liquid N2 temperature with a manual plunger (Max Planck Institute of Biochemistry, Germany). The cryo-EM grids were stored in a sealed box in liquid N2 before usage. | EM_SampProcProt_Revised_01.xls | RT fixation and megametal sample preparation for FIB SEM | N/A | CLARITY cleared
| Signal/contrast mechanism | How is the signal generated by this sample | 3D classification | Multiplying the FT of a particle image by the corresponding real-valued CTF | Heavy metal staining; m/z contrast detected by back-scatter electron detector | Osmium, uranium, lead, as contrast agents, m/z contrast detected by back-scatter electron detector | N/A | Antibodies | fluorescent proteins | fluorescent proteins and fluorescent dyes
| Channel - content | Specific specimen staining (e.g. IEM, DAB) | N/A | N/A | N/A | N/A | N/A | Megalin 1:200 overnight, Laminin 1:1000 overnight | red: HIST1H2BJ-mCherry, green: LMNA-eGFP | 490-552:protein of interest-GFP; 587-621:HIST1H2BJ-mCherry ¦ 622-695:SiR-DNA; 622-695:Dy-481XL-labelled 500 kDa dextran
| Channel - biological entity | What molecule is stained | N/A | N/A | N/A | N/A | N/A | Megalin: tubular lumen, green; Laminin: basement membrane, red | red: HIST1H2BJ-mCherry, green: LMNA-eGFP | 490-552:protein of interest-GFP; 587-621:HIST1H2BJ-mCherry ¦ 622-695:SiR-DNA; 622-695:Dy-481XL-labelled 500 kDa dextran
Image acquisition
(linked to Specimen) | Instrument attributes | Details about instruments used | [6 empty] | Automated Olympus IX-81 epifluorescence microscope with 20X objective
| Image acquisition parameters | Image acquisition details | All cryo-EM data were collected on Falcon cameras in electron counting mode using Titan Krios microscopes (Thermo Fisher Scientific) operating at 300 kV. Before data acquisition, two-fold astigmatism was corrected and beam tilt was adjusted to the coma-free axis using the autoCTF program. All datasets were acquired automatically using EPU software (Thermo Fisher Scientific). Detailed data acquisition parameters for all data sets are given in Extended Data Table 1. | Tilt series data were collected on a Titan Krios TEM operated at 300 kV (Thermo Fisher Scientific) equipped with a field-emis- sion gun, a Gatan K2 Summit direct detector and a Quantum post-column energy filter (Gatan). Images were recorded in exposure-fractionation, counting mode using SerialEM 3.7.2. Tilt-series were acquired with a dose-symmetric scheme us- ing dedicated scripts51 with the following settings: TEM in na- no-probe mode, magnification 81,000 with a calibrated pixel size of 1.7 Å, energy filter in zero loss mode, defocus range 1.5 to 3.5 μm, tilt range -60° to 60° with 3° tilt increment and constant ex- posure per tilt, total exposure of 120 e-/Å2. In total, 65 tilt series were collected from Cm-treated cells. | FIB-SEM_Acquisition_Parameters_Samleson_pLAT_8O-2_correct.xls | 5 nm isotropic, 10 µs dwell time. SEM at 1.5 kV with 1 nA current. EsB detector with grid voltage of 1.2 kV. Ion beam milling at accelerating voltage of 30 kV and current of 700 pA | N/A | N/A | Images acquired every 8.5 min for 44h.
Image data
(result of Image acquisition, or processing of Image data) | Type | Primary image/processed image/segmentation | micrographs | tilt series | Processed Image | Processed image | Primary image and segmentation outlines | Primary image | Primary image | Primary images, segmentation masks for the landmarks and protein concentration maps
| Format & compression | File type | EER | MRC | .mrc | .mrc | .tif | .czi | TIFF
| Dimension extents | Volume in pixels: x, y, z, tilts | 4096, 4096, 434 | 4096, 4096, 434 | 1000, 800, 546 |  | 800 x 600 | x: 1920, y: 1920, z: 600, c: 2, v: 5, t: 1 | x: 1344, y: 1024, t: variable, ~330 | x: 256, y: 256, z: 31
| Size description | Physical size of image volume in x,y,z & units (pull down), OR magnification | N/A (can be calculated from voxel size) | N/A (can be calculated from voxel size) | 15 x 12 x 8.719 um | 15.62 x 16.70 x 3.61 µm | N/A | N/A (can be calculated from voxel size)
| Pixel/voxel size description | Physical size of pixels in x, y, z & units (pull down) | 14 14 14 nm | 10 x 10 x 10 nm | 15 x 15 x 15.97 nm | 10 x 10 x 10 nm | N/A | 0.57 um x 0.57 um x 1.30 um | 0.32 um x 0.32 um | 0.25 um x 0.25 um x 0.75 um
| Channel information | How are individual channels represented in the image
| Image processing method | Image registration, other processing applied to this dataset | A total of 3370 movies in EER format were motion corrected with RELION’s implementation of the MotionCor2 algorithm53. For this purpose, original hardware movie frames were dose fractionated into groups of 14 frames, corresponding to an accumulated dose of 1.3 e-/Å2 per fraction. CTF estimation was performed with CTFFIND-4.1.1354 using the sums of power spectra from combined fractions corresponding to an accumulated dose of 4 e-/Å2. Micrographs whose estimated resolution from CTFFIND was worse than 5 Å were removed, leaving 3080 micrographs for further processing. | Raw tilt movies were processed in Warp. De novo tilt series alignment was performed in IMOD using gold fiducials picked automatically with Warp’s BoxNet, and the results were imported in Warp, where the tilt series CTFs were estimated. Using full tomograms reconstructed at 10 Å/px, two tomograms were de- noised using Warp’s Noise2Map tool to pick the ribosome par- ticles manually. Using these coordinates, sub-tomograms were exported from Warp to RELION to obtain an initial reference. | cross-correlation based stack alignment + binning + inversion | Zeiss Atlas 5.2.1.25; Gradient align Export of cropped region of interest exported as 8 bit TIF files Fiji; Invert Gaussian blur: Sigma 0.75 Unsharp mask: Radius (Sigma) 1 pixel, Mask weight 0.6 Rotate to straighten XY (D19: no rotation) Reslice: YZ assigned to XY plane Scale to 10 nm isotropic voxels IMOD; tif2mrc | N/A | N/A |  | Segmentation, FCS-based intensity calibration
| Contrast inversion to TEM | Y/N; N if stained features result in brighter (whiter) signal; Y if it looks like a TEM image | N/A | N/A | Y | Y | N/A | N/A
| QC info | QC score for uploaded image quality if applicable | N/A | N/A | N/A | N/A | N/A | N/A
Image Correlation
(linked to 1 or more Image data) | Spatial and temporal alignment | Method used to correlate images from different modalities (e.g. manual overlay, alignment algorithm etc) | N/A | Warp’s BoxNet | Manual | Manual | N/A | N/A
| Fiducials used | Features from correlated datasets used for colocalization | N/A | gold fiducials | Plasma membrane and nuclear membrane | Paraseite fluorescent reporter used for FRAP | N/A | N/A
| Transformation matrix/ other info | Correlation transformations | N/A | N/A | N/A | N/A | N/A | N/A
| Related images and relationship | Correlated dataset or images | N/A | N/A | pLAT_8O-2_Fluo.tif | FRAP, fluorescence after fixation, same area imaged (not deposited). EMPIAR-10326; raw data from which this entry was processed | N/A | N/A
Analysed data
| Analysis result type | Numerical analyses, segmention (non-image), categorical features/phenotypes | N/A | N/A | N/A | Decentralised residual body central axis skeletonisation (green), basal pole (orange), coarse segmenation of part of parasite surface membrane (yellow), putative ER in a region of the decentralised residual body (blue). | Segmentation outlines | N/A | Phenotypes | protein concentrations in time and space
| Data used for analysis | Specific feature set used for analysis (e.g. volume measurements, locations of features) | N/A | N/A | N/A | N/A | Primary image | N/A | associated HDF5 file | associated files: cell features, mitotic cell model, sequences used to edit the genomic loci (to identify the genes), protein concentrations (in nM) at each voxel of the mitotic cell model
| Analysis method and details | Analysis method | N/A | N/A | N/A | 3dmod manual segmentation | Manual annotation | N/A | see Hériché JK et al.. Mol Biol Cell. 2014 Aug 15;25(16):2522-2536. doi: 10.1091/mbc.E13-04-0221. PubMed PMID: 24943848 | Cai Y, et al. An experimental and computational framework to build a dynamic protein atlas of human cell division. Nature. 2018 Sep 10. doi: 10.1038/s41586-018-0518-z. PubMed PMID: 30202089.
Supplementary Figure 2. REMBI modules and attributes with examples.

## 11 Imaging Method Dropdowns
Line 11 | Imaging method | Imaging method | Imaging method | Imaging method | Imaging method | Imaging method | Imaging method | Imaging method | Imaging method | Imaging method | Imaging method | Merged List 6.14.23
| OMC/Karpova | HiTIF/Pegoraro | CDBL/Anderson | vEM/Narayan | OMAL/Lockett | CPTR/Kedei | CCR MCF/Kruhlak | LGCP/Lake | MDPL/Lawrence | Other modalities... | EIB/Wisniewski
| Wide-Field Fluorescence Microscopy | Spinning Disk Confocal Microscopy | Laser Scanning Confocal Microscopy | Focused Ion Beam Scanning Electron Microscopy | Wide-Field Fluorescence Microscopy | Cyclic Fluorescence (CODEX, Phenocycler) | Laser Scanning Confocal Microscopy | Wide-Field Fluorescence Microscopy | Brightfield Microscopy | Stimulated Emission Depletion Microscopy |  | Airyscan Super-Resolution Microscopy
| Laser Scanning Confocal Microscopy | Brightfield Microscopy | Spinning Disk Confocal Microscopy | Array Tomography | Line Scanning Confocal Microscopy | Digital Spatial Profiling (GeoMx) | Spinning Disk Confocal Microscopy | Brightfield Microscopy | Fluorescence Microscopy | Raman Spectroscopy |  | Array Tomography
| HILO Illumination |  | Brightfield Microscopy | Electron Tomography | Spinning Disk Confocal Microscopy | Spatial Molecular Imaging (CosMx) | SoRa Super-Resolution Confocal Microscopy | Line Scanning Confocal Microscopy | Digital Spatial Profiling (GeoMx) | Cryo-Transmission Electron Microscopy (Cryo-TEM) |  | Atomic Force Microscopy
| MINFLUX |  |  | Scanning Electron Microscopy | Laser Scanning Confocal Microscopy | Fluorescence Microscopy | Airyscan Super-Resolution Microscopy |  | Laser Capture Microdissection | Electron Cyrotomography (CryoET) |  | Brightfield Microscopy
| Lattice Light Sheet Microscopy |  |  | Transmission Electron Microscopy | Multi-photon Microscopy | Brightfield Microscopy | Structured Illumination Microscopy |  |  |  |  | Cellphone image
| Brightfield Microscopy |  |  | Fluorescence Microscopy | Second Harmonic Generation |  | Light Sheet Fluorescence Microscopy |  |  |  |  | Cryo-Transmission Electron Microscopy (Cryo-TEM)
| Orbital Tracking |  |  | Brightfield Microscopy | Light Sheet Fluorescence Microscopy |  | Multi-photon Microscopy |  |  |  |  | Cyclic Fluorescence (CODEX, Phenocycler)
| diSPIM illumination |  |  | Cellphone image | Airyscan Super-Resolution Microscopy |  | Brightfield Microscopy |  |  |  |  | Cyclic Fluorescence (Phenocycler)
[5 empty] | Structured Illumination Microscopy | [6 empty] | Digital Spatial Profiling (GeoMx)
[5 empty] | Single Molecule Localization Microscopy (STORM, PALM) | [6 empty] | Electron Cyrotomography (CryoET)
[5 empty] | Atomic Force Microscopy | [6 empty] | Electron Tomography
[5 empty] | Cyclic Fluorescence (Phenocycler) | [6 empty] | Fluorescence Correlation Spectroscopy
Exists in NCI Metadata |  |  |  |  | Fluorescence Correlation Spectroscopy | [6 empty] | Fluorescence life-time imaging
Has adjacent term in NCI Metadata |  |  |  |  | Fluorescence life-time imaging | [6 empty] | Fluorescence Microscopy
Does not have a adjacent term in NCI Metadata |  |  |  |  | Total Internal Reflection Fluorescence Microscopy | [6 empty] | Focused Ion Beam Scanning Electron Microscopy
[5 empty] | Polarization Microscopy | [6 empty] | HILO Illumination
[5 empty] | Brightfield Microscopy | [6 empty] | Laser Capture Microdissection
Laser Scanning Confocal Microscopy
Laser Scanning Confocal Microscopy
Lattice Light Sheet Microscopy
Light Sheet Fluorescence Microscopy
Line Scanning Confocal Microscopy
MINFLUX
Multi-photon Microscopy
Polarization Microscopy
Raman Spectroscopy
Scanning Electron Microscopy
Second harmonic generation
Single Molecule Localization Microscopy (STORM, PALM)
SoRa Super-Resolution Confocal Microscopy
Spatial Molecular Imaging (CosMx)
Spinning Disk Confocal Microscopy
Stimulated Emission Depletion Microscopy
Structured Illumination Microscopy
Total Internal Reflection Fluorescence Microscopy
Transmission Electron Microscopy
Wide-Field Fluorescence Microscopy

## 26 Preparation Method Dropdowns
Line 25 | Preparation Method | Preparation Method | Preparation Method | Preparation Method | Preparation Method | Preparation Method | Preparation Method | Preparation Method | Preparation Method | Preparation Method | Merged List 6.14.23
| OMC/Karpova | HiTIF/Pegoraro | CDBL/Anderson | vEM/Narayan | OMAL/Lockett | CPTR/Kedei | CCR MCF/Kruhlak | MDPL/Lawrence | LGCP/Lake | EIB/Wisniewski
| Paraformaldehyde (PFA) fixation | Paraformaldehyde (PFA) fixation | Paraformaldehyde (PFA) fixation | Chemical Fixation (SEM) (room temp) | Live cell | Fresh Frozen | Paraformaldehyde (PFA) fixation | Formalin-fixed, paraffin-embedded (FFPE) |  |  | Live cell
| Methanol Fixation | Methanol Fixation | Live cell |  | Live cell for hypoxia chamber | Formalin-fixed, paraffin-embedded (FFPE) | Methanol Fixation | Paraformaldehyde (PFA) fixation |  |  | Live cell for hypoxia chamber
| Live cell | Live cell | Optical Clearing | High Pressure Freezing | Atomic Force Microscopy sample prep |  | Live cell | Fresh Frozen |  |  | Methanol fixation | Conventional chemical fixation (room temp) sufficient?
[5 empty] | Cell and tissue expansion | [5 empty] | Paraformaldehyde (PFA) fixation | Conventional chemical fixation (room temp) sufficient?
[5 empty] | Optical clearing | [5 empty] | Optical clearing
Cell and tissue expansion
Formalin-fixed, paraffin-embedded (FFPE)
Fresh Frozen
High Pressure Freezing
removed these; covered elsewhere, not prep method
Multi-cycle immunofluorescence (CODEX or in house)
[5 empty] | transfection / transduction etc | [6 empty] | Not a prep method
not a prep method; goes elsewhere

## 27 SignalContrastMech Dropdowns
Line 26 | Signal/Contrast Mechanism | Signal/Contrast Mechanism | Signal/Contrast Mechanism | Signal/Contrast Mechanism | Signal/Contrast Mechanism | Signal/Contrast Mechanism | Signal/Contrast Mechanism | Signal/Contrast Mechanism | Signal/Contrast Mechanism | Signal/Contrast Mechanism
| OMC/Karpova | HiTIF/Pegoraro | CDBL/Anderson | vEM/Narayan | OMAL/Lockett | CPTR/Kedei | CCR MCF/Kruhlak | LGCP/Lake | EIB/Wisniewski | MDPL/Lawrence
| Fluoresence | Fluoresence | Fluorescence | Backscatter electron (BSE) | Fluoresence | Fluorescence | Fluorescence | Fluoresence |  | Fluoresence
| Brightfield | Brightfield | Brightfield | Scanning electron (SE) | Brightfield | Brightfield | Brightfield | Brightfield |  | Brightfield
| Differential Interference Contrast (DIC) | Differential Interference Contrast (DIC) |  | ImmunoEM | Differential Interference Contrast (DIC) |  | Differential Interference Contrast (DIC)
|  |  |  | Fluorescence | Phase Contrast
|  |  |  | Brightfield | Harmonic generation
|  |  |  | DAB | Atomic Force Microscopy (AFM)

## 28 Channel - Content dropdowns
Line 27 | Specific Specimen Staining | Specific Specimen Staining | Specific Specimen Staining | Specific Specimen Staining | Specific Specimen Staining | Specific Specimen Staining | Specific Specimen Staining | Specific Specimen Staining | Specific Specimen Staining | Specific Specimen Staining
| OMC/Karpova | HiTIF/Pegoraro | CDBL/Anderson | vEM/Narayan | OMAL/Lockett | CPTR/Kedei | CCR MCF/Kruhlak | LGCP/Lake | MDPL/Lawrence | EIB/Wisniewski | Merged list
| Immunofluoresence | Immunofluoresence | Immunofluorescence |  | Immunofluorescence | Immunofluorescence | Immunofluorescence | Immunofluorescence | Immunofluorescence |  | Immunofluorescence
| Organelle-specific fluorescent dye (e.g. DAPI) | Organelle-specific fluorescent dye (e.g. DAPI) | Organelle-specific fluorescent dye (e.g. DAPI) |  | Organelle-specific fluorescent dye (e.g. DAPI) | Organelle-specific fluorescent dye (e.g. DAPI) | Organelle-specific fluorescent dye (e.g. DAPI) | Organelle-specific fluorescent dye (e.g. DAPI) | Organelle-specific fluorescent dye (e.g. DAPI) |  | Organelle-specific fluorescent dye (e.g. DAPI)
| DNA FISH | DNA FISH | RNA FISH |  | RNA FISH | Fluorescent protein reporter | Fluorescent protein reporter | RNA FISH | Immunohistochemistry (IHC) |  | RNA FISH
| RNA FISH | RNA FISH | Fluorescent protein reporter |  | DNA FISH | Immunohistochemistry (IHC) |  | Immunohistochemistry (IHC) | Hematoxylin and eosin (H&E) |  | DNA FISH
| RNA HCR | RNA HCR |  |  | Fluorescent protein reporter | Hematoxylin and eosin (H&E) |  | Hematoxylin and eosin (H&E) |  |  | Fluorescent protein reporter
| Fluorescent protein reporter | Fluorescent protein reporter |  |  | Immunohistochemistry (IHC) | [5 empty] | Immunohistochemistry (IHC)
| Fluorescence sensors (calcium, pH, mito pot etc) |  |  |  | Hematoxylin and eosin (H&E) | [5 empty] | Hematoxylin and eosin (H&E)
[5 empty] | Label-free | [5 empty] | Label-free
[5 empty] | Fluorescence sensors (calcium, pH, mito pot etc) | [5 empty] | Fluorescence sensors (calcium, pH, mito pot etc)

## Plan for automated field fills
| Line | Field | All or Facility-specific | Approach (Goal is to eliminate variation from free text entries when possible)
study | 4 | NIH ID for PI | All | Not visible to users; complete on the back end prior to publication based on entries on line 9. Select from Z award list in "type & select" style list; includes Investigators of all types + Facility Heads
Component | 8 | Core ID | Facility-Specific | Prepopulate in the Facility-specific sample manifests; use a dropdown for the master
Component |  | Core Operator ID? | Facility-Specific | OMAL may need this; other facilities?
Component | 9 | NIH ID for PI | All | Z award list in "type & select" style list; includes Investigators of all types + Facility Heads. Selected by requestor
Component | 10 | User ID | All | AD look-up (existing MS solution)
Component | 11 | Imaging method | Facility-Specific | dropdown + free text option - single back-end list with shorter front-end lists per facility
Biosamples | 14 | # of unique biosamples | All | Number from 1- what? Creates a block of Biosample fields (line 15-21) for each
Biosamples | 17 | Organism | All | Use existing species dropdown menu w/ option for multiple
Biosamples | 18 | Cell Line/Tissue name | All | choose cell line or tissue; if cell line => cell line name if tissue => normal or tumor; if tumor => WHO Histology/diagnosis list
Biosamples | 19 | Intrinsic (e.g. genetic) alteration (if applicable) | All | free text field; consider a back-end transformation to harmonize and make entries seachable
Biosamples | 20 | External biosample treatment (e.g. reagent) if applicable | All | free text field; consider a back-end transformation to harmonize and make entries seachable
Specimens | 22 | # of Unique specimens for this biosample | All | Need to include standard OMERO HTS approach for multi-well plates/treatment grids;
Specimens | 23 | Test/control | All | bianry choice
Specimens | 24 | Plate/dish coordinate or tissue location | All | obtained from OME Plate, Well, FOV hierarchy
Specimens | 25 | Preparation method | Facility-Specific | dropdown + free text option - single back-end list with option for shorter front-end lists per facility
Specimens | 26 | Signal/contrast mechanism | Facility-Specific | dropdown + free text option - single back-end list with option for shorter front-end lists per facility
Specimens | 27 | Specific specimen staining (e.g. IEM, DAB) | Facility-Specific | dropdown + free text option - single back-end list with option for shorter front-end lists per facility
Specimens | 28 | What molecule is stained | All | free text